## Slide 1
Μπαραδάκης Ε.
 | Refrigeration efficiency Carnot Heating efficiency Carnot Efficiency Carnot
 | Refrigeration efficiency Carnot Heating efficiency Carnot Efficiency Carnot
 | Heating energy Heating power losses in tank Heating power losses in pipes
 | Heating energy Heating power losses in tank Heating power losses in pipes
 | Energy from photovoltaic Power from photovoltaic
 | Energy from photovoltaic Power from photovoltaic
 | Wind Power Wind turbine power Electric power wind turbine Capacity factor
 | Wind Power Wind turbine power Electric power wind turbine Capacity factor
 | Power from hydropower system
 | Power from hydropower system
 | Heating energy per square meter from geothermal source
 | Heating energy per square meter from geothermal source

## Slide 2
Μπαραδάκης Ε.
p-type
n-type

## Slide 3
Μπαραδάκης Ε.
Photovoltaic Effect

## Slide 4
Μπαραδάκης Ε.

## Slide 5
Μπαραδάκης Ε.
Characteristics of photovoltaic cell
Current I (A)
Voltage V (V)

## Slide 6
Μπαραδάκης Ε.
Temperature dependency of photovoltaic cell
Current I (A)
Voltage V (V)

## Slide 7
Μπαραδάκης Ε.

## Slide 8
Μπαραδάκης Ε.
How much electric energy produces 1 m2 pv system with pv efficiency npv= 0.12 in area with average daily solar irradiation 6 kWh/ m2. Correction coefficient for temperature is 0.8 and for pollution 0.95.
The formula for energy produced by a pv system gives
Ep = np ⋅ nt ⋅ npv ⋅ Esun ⋅ A = 0.95 ⋅ 0.8 ⋅ 0.12 ⋅ 6 kWh/ m2 ⋅ 1 m2 = 0.55 kWh/ m2 per day

## Slide 9
Μπαραδάκης Ε.
A PV system has nominal capacity 5 kWp and efficiency 0.12. Find the area of the system. How much electric energy produces this system when average daily solar irradiation is 6 kWh/ m2. Correction coefficient for temperature is 0.8 and for pollution 0.95.
Nominal capacity means
Pn = npv ⋅ 1000 W/m2 ⋅ A ⇒ 5 kW = 0.12 ⋅ 1000 W/m2 ⋅ A ⇒ A = 5000 W/120 m2 = 41.67 m2
So daily energy production for this system is
Ep = np ⋅ nt ⋅ npv ⋅ Esun ⋅ A = 0.95 ⋅ 0.8 ⋅ 0.12 ⋅ 6 kWh/ m2 ⋅ 41.67 m2 = 22.8 kWh per day

## Slide 10
Μπαραδάκης Ε.

## Slide 11
Μπαραδάκης Ε.
In a specific location average wind velocity is v = 7 m/s.
Calculate the power of wind in a area A = 100 m2. Air density ρ = 1,2 kg/m3.
How much the power of ideal wind turbine;
Wind power: = 0,5 1,2 kg/m3 100 m2 73 m3/s3 = 20580 W = 20,58 kW
From Benz thermodynamic analysis the ideal wind turbine expoloit the 0,59 of wind power so:
= 0,59 20,58 kW = 12,14 kW

## Slide 12
Μπαραδάκης Ε.
In a specific location average wind velocity is v = 7 m/s. Calculate the energy produces an ideal wind turbine with blade radius R = 10 m. Air density ρ = 1,2 kg/m3.
From Benz thermodynamic analysis the ideal wind turbine expoloit the 0,59 of wind power so:
= 0,59 = 38.126,51 W = 38,13 kW
For one year the energy produced by this turbine:
E = 38,13 kW (24 365) h kWh

## Slide 13
Μπαραδάκης Ε.
Building with area 2.000 m2 and coefficient of thermal losses 10 W/m2 oC and desirable inside temperature Τ = 22 oC and average ambiend temperature T2 = 12 oC. Calculate the the thermal power. Calculate the thermal energy per day and year.
For thermal power:
= 10 W/m2 oC oC = 200,000 W = 200 kW
= 200 kW = 4,800 kWh
= 1,752,000‬ kWh
Thermal energy: